## Table_1
Table 1. Dataset composition and chronological partitioning.
Dataset role | Collection period | Continuous segments, n | Observations, n | Segment duration, median (range), h
Training | 12 Oct 2025–9 Jun 2026 | 86 | 224,493 | 23.3 (0.3–301.8)
Validation | 15 Jun 2026–24 Jul 2026 | 4 | 56,078 | 252.9 (96.9–332.1)
Original holdout | 24 Jul 2026–12 Aug 2026 | 3 | 26,810 | 185.7 (64.2–197.0)
Prospective operational challenge | 1 Sep 2026–3 Sep 2026 | 1 | 2,844 | 47.4 (47.4–47.4)
Note. Observations were nominally one minute apart. Segment duration includes the final nominal one-minute observation and excludes gaps between continuous segments.

## Table_2
Table 2. Pointwise LSTM performance on the original holdout and prospective operational challenge.
Dataset | Temperature input | Predictions, n | RMSE, °C | MAE, °C | Bias, °C | P95 absolute error, °C
Original holdout | Refrigerator-reported BLE temperature, T_BLE | 26,453 | 0.471 | 0.294 | 0.014 | 0.973
Original holdout | BME280 air temperature, T_280 | 26,633 | 0.211 | 0.176 | 0.162 | 0.401
Prospective operational challenge | Refrigerator-reported BLE temperature, T_BLE | 2,725 | 0.473 | 0.391 | 0.028 | 0.884
Prospective operational challenge | BME280 air temperature, T_280 | 2,785 | 0.181 | 0.122 | 0.074 | 0.411
Note. Positive bias indicates warm overestimation. P95 is the 95th percentile of absolute error. Each input is evaluated from its first complete lookback window.

## Table_3
Table 3. Excursion-classification performance of the LSTM estimators for temperatures below 2 °C and above 8 °C in the original holdout and prospective operational challenge.
Dataset | Temperature input | Excursion state | Reference excursion duration, min | Excursion PPV, % | Missed reference-excursion duration, min (%) | False-positive excursion duration, min
Original holdout | Refrigerator-reported BLE temperature, T_BLE | Cold (<2 °C) | 2507 | 89.9 | 156 (6.2) | 263
Original holdout | Refrigerator-reported BLE temperature, T_BLE | Hot (>8 °C) | 2168 | 81.5 | 126 (5.8) | 465
Original holdout | BME280 air temperature, T_280 | Cold (<2 °C) | 2507 | 99.9 | 186 (7.4) | 3
Original holdout | BME280 air temperature, T_280 | Hot (>8 °C) | 2168 | 93.8 | 28 (1.3) | 142
Prospective operational challenge | Refrigerator-reported BLE temperature, T_BLE | Cold (<2 °C) | 148 | 100.0 | 1 (0.7) | 0
Prospective operational challenge | Refrigerator-reported BLE temperature, T_BLE | Hot (>8 °C) | 359 | 98.0 | 20 (5.6) | 7
Prospective operational challenge | BME280 air temperature, T_280 | Cold (<2 °C) | 148 | 99.3 | 3 (2.0) | 1
Prospective operational challenge | BME280 air temperature, T_280 | Hot (>8 °C) | 359 | 97.5 | 5 (1.4) | 9
Note. Excursion PPV is the percentage of estimated excursion time during which the estimate identified the same out-of-range state as the reference. Missed reference-excursion duration is reported as minutes and, in parentheses, as a percentage of the corresponding reference excursion duration. False-positive excursion duration is the time for which the estimate was in the specified out-of-range state while the reference was not.

## Table_4
Table 4. Observed glycol-buffered temperature-transition rates and LSTM rate-of-change performance.
Dataset | Temperature input | Rate pairs, n | Reference P95 absolute rate, °C/min | Maximum warming rate, °C/min | Maximum cooling rate, °C/min | Rate RMSE, °C/min | Rate MAE, °C/min | P95 absolute rate error, °C/min | Rate correlation
Original holdout | Refrigerator-reported BLE temperature, T_BLE | 26,450 | 0.0500 | 0.1800 | -0.2100 | 0.0378 | 0.0280 | 0.0779 | 0.567
Original holdout | BME280 air temperature, T_280 | 26,630 | 0.0500 | 0.1800 | -0.2100 | 0.0159 | 0.0106 | 0.0323 | 0.892
Prospective operational challenge | Refrigerator-reported BLE temperature, T_BLE | 2,724 | 0.0600 | 0.1700 | -0.1800 | 0.0414 | 0.0291 | 0.0924 | 0.558
Prospective operational challenge | BME280 air temperature, T_280 | 2,784 | 0.0600 | 0.1700 | -0.1800 | 0.0180 | 0.0114 | 0.0376 | 0.883
Note. Rates use actual elapsed minutes between consecutive observations within each continuous segment. Negative values indicate cooling. Rate correlation is Pearson's correlation between observed and predicted one-step rates.

## Table_S2a
Table S2a. Programmed temperature-control schedules used during model-development data collection.
Schedule | Setpoint sequence | Dwell time | Purpose and cycle behaviour
Nominal storage | +5 °C | Continuous | Characterized routine temperature-control cycling and provided a baseline for manually imposed challenges.
Ordered sweep | −20, −15, −10, −5, 0, +5, +10, +15 and +20 °C | 2 h per step (initial scheduler); 1.5–2.5 h per step (later scheduler) | The initial scheduler completed one sweep and then held +20 °C; the later scheduler repeated the sweep within a multi-mode cycle.
Randomized sweep | The same nine setpoints from −20 to +20 °C, each used once per cycle in randomized order | 1–3 h per step | Generated a new setpoint order and dwell time for each cycle.
Alternating extremes | +20, −20, +15, −15, +10, −10, +5, −5 and 0 °C | 0.75–2 h per step | Formed the stress cycle in a repeating ordered → randomized → randomized → stress plan.
Controlled excursion | +5 → +20 → +5 → 0 → +5 → −20 → +5 °C | 8, 4, 8, 2, 8, 4 and 8 h, respectively | Repeated after the final +5 °C recovery hold.
Note. The table reports intended scheduler rules. Manual challenges were applied at experiment-specific times and were not governed by the automated schedules.

## Table_S2b
Table S2b. Prospective operational-challenge timeline.
Event | Elapsed time | Calendar time (UTC−4) | Duration | Notes
Run start | t0 | 1 Sep 2026 11:37 | — | Origin specified in the experimental notes
First door opening | t153–t176 | 1 Sep 2026 14:10–14:33 | 23 min | Door remained open
Cooling interrupted | t234 | 1 Sep 2026 15:31 | 5.6 h | Refrigerator power switched off
Cooling restored | t570 | 1 Sep 2026 21:07 | — | Refrigerator power restored
Second door opening | t1275–t1295 | 2 Sep 2026 08:52–09:12 | 20 min | Door remained open
Setpoint +5 to 0 °C | t1429.2 | 2 Sep 2026 11:26:13 | — | First raw sample reporting the new setpoint
Setpoint 0 to +5 °C | t1606.2 | 2 Sep 2026 14:23:14 | — | First raw sample reporting the restored setpoint
Note. Elapsed time is measured from the 11:37 pre-lookback run origin. Door-opening and cooling-interruption times came from experimental notes; setpoint times came from the raw prospective data.

## Table_S3
Table S3. Input-specific features and implementation settings for the two LSTM estimators.
Component | Temperature input | Specification
Causal feature set | Refrigerator-reported BLE temperature, T_BLE | T_BLE; 15- and 30-min rolling means; 15- and 30-min rolling standard deviations; exponential moving averages with 5- and 80-min time constants; departure from the 80-min exponential moving average clipped to ±3 °C
Sequence and network | Refrigerator-reported BLE temperature, T_BLE | 120 observations; 8 features; LSTM (110 units); dense layer (16 units); dropout 0.20; 54,593 total parameters
Causal feature set | BME280 air temperature, T_280 | T_280; 5-min rolling mean; 15-min rolling standard deviation; exponential moving averages with 5- and 80-min time constants; departure from the 80-min exponential moving average clipped to ±3 °C
Sequence and network | BME280 air temperature, T_280 | 60 observations; 6 features; LSTM (110 units); dense layer (16 units); dropout 0.20; 53,713 total parameters
Feature scaling | Both temperature inputs | Robust scaling using the training median and 10th–90th percentile range, fitted independently for each input
Target scaling | Both temperature inputs | Standard scaling of T_P1 fitted on training targets only; predictions inverse-transformed to °C
Optimization and selection | Both temperature inputs | Adam optimizer; learning rate 0.0005; Huber(delta=1.0) on standardized T_P1; batch size 896; maximum 100 epochs; checkpoint selected by minimum validation loss
Training control | Both temperature inputs | Learning rate reduced by one-half after 4 epochs without improvement in validation loss; early stopping after 7 epochs without improvement
Reproducibility | Both temperature inputs | Random seed 42 for Python, NumPy and TensorFlow; deterministic TensorFlow operations requested
Software environment | Both temperature inputs | Python 3.12.13; TensorFlow 2.21.0; Keras 3.14.0; scikit-learn 1.8.0; NumPy 1.26.4; pandas 3.0.2
Note. All feature calculations were causal and confined to continuous segments. Scalers were fitted on training data only. Departures from the 80-min exponential moving average were clipped to ±3 °C for both inputs.

## Figure_S4_source_data
Figure S4 source data. Source data for the prespecified reference-estimator comparison.
Temperature input | Dataset | Estimator | Predictions, n | RMSE, °C | MAE, °C | Bias, °C | P95 absolute error, °C
Refrigerator-reported BLE temperature, T_BLE | Validation | Direct input reference | 55,602 | 1.468 | 1.221 | 0.000 | 2.550
Refrigerator-reported BLE temperature, T_BLE | Validation | Instantaneous affine model | 55,602 | 1.401 | 1.124 | 0.430 | 2.659
Refrigerator-reported BLE temperature, T_BLE | Validation | First-order thermal model | 55,602 | 0.962 | 0.834 | 0.788 | 1.730
Refrigerator-reported BLE temperature, T_BLE | Validation | Ridge temporal model | 55,602 | 0.817 | 0.667 | 0.542 | 1.577
Refrigerator-reported BLE temperature, T_BLE | Validation | Long short-term memory network | 55,602 | 0.409 | 0.320 | -0.007 | 0.795
Refrigerator-reported BLE temperature, T_BLE | Original holdout | Direct input reference | 26,453 | 1.349 | 1.118 | 0.101 | 2.260
Refrigerator-reported BLE temperature, T_BLE | Original holdout | Instantaneous affine model | 26,453 | 1.341 | 1.100 | 0.476 | 2.649
Refrigerator-reported BLE temperature, T_BLE | Original holdout | First-order thermal model | 26,453 | 1.098 | 0.997 | 0.865 | 1.991
Refrigerator-reported BLE temperature, T_BLE | Original holdout | Ridge temporal model | 26,453 | 1.056 | 0.930 | 0.805 | 1.988
Refrigerator-reported BLE temperature, T_BLE | Original holdout | Long short-term memory network | 26,453 | 0.471 | 0.294 | 0.014 | 0.973
Refrigerator-reported BLE temperature, T_BLE | Prospective operational challenge | Direct input reference | 2,725 | 1.600 | 1.285 | -0.055 | 2.816
Refrigerator-reported BLE temperature, T_BLE | Prospective operational challenge | Instantaneous affine model | 2,725 | 1.586 | 1.270 | 0.163 | 2.997
Refrigerator-reported BLE temperature, T_BLE | Prospective operational challenge | First-order thermal model | 2,725 | 1.215 | 1.090 | 0.635 | 1.949
Refrigerator-reported BLE temperature, T_BLE | Prospective operational challenge | Ridge temporal model | 2,725 | 1.151 | 1.034 | 0.566 | 1.859
Refrigerator-reported BLE temperature, T_BLE | Prospective operational challenge | Long short-term memory network | 2,725 | 0.473 | 0.391 | 0.028 | 0.884
BME280 air temperature, T_280 | Validation | Direct input reference | 55,842 | 0.958 | 0.819 | -0.769 | 1.670
BME280 air temperature, T_280 | Validation | Instantaneous affine model | 55,842 | 0.648 | 0.511 | -0.352 | 1.246
BME280 air temperature, T_280 | Validation | First-order thermal model | 55,842 | 0.354 | 0.329 | -0.317 | 0.496
BME280 air temperature, T_280 | Validation | Ridge temporal model | 55,842 | 0.328 | 0.302 | -0.298 | 0.475
BME280 air temperature, T_280 | Validation | Long short-term memory network | 55,842 | 0.150 | 0.121 | 0.007 | 0.287
BME280 air temperature, T_280 | Original holdout | Direct input reference | 26,633 | 0.980 | 0.769 | -0.656 | 1.890
BME280 air temperature, T_280 | Original holdout | Instantaneous affine model | 26,633 | 0.731 | 0.570 | -0.251 | 1.469
BME280 air temperature, T_280 | Original holdout | First-order thermal model | 26,633 | 0.276 | 0.248 | -0.208 | 0.442
BME280 air temperature, T_280 | Original holdout | Ridge temporal model | 26,633 | 0.233 | 0.210 | -0.178 | 0.371
BME280 air temperature, T_280 | Original holdout | Long short-term memory network | 26,633 | 0.211 | 0.176 | 0.162 | 0.401
BME280 air temperature, T_280 | Prospective operational challenge | Direct input reference | 2,785 | 1.106 | 0.912 | -0.722 | 2.018
BME280 air temperature, T_280 | Prospective operational challenge | Instantaneous affine model | 2,785 | 0.844 | 0.631 | -0.355 | 1.642
BME280 air temperature, T_280 | Prospective operational challenge | First-order thermal model | 2,785 | 0.376 | 0.354 | -0.287 | 0.531
BME280 air temperature, T_280 | Prospective operational challenge | Ridge temporal model | 2,785 | 0.320 | 0.298 | -0.256 | 0.447
BME280 air temperature, T_280 | Prospective operational challenge | Long short-term memory network | 2,785 | 0.181 | 0.122 | 0.074 | 0.411
Note. Bias is retained as a signed value in the source data and displayed as absolute mean bias in Figure S4.